|  | Contact | Michael Pfeffer michael.pfeffer@unibas.ch +41 61 207 11 20 | Sylvie Mittelheisser sylvie.mittelheisser@unibas.ch +41 61 207 11 19 |
| --- | --- | --- | --- |

External Order – High Resolution MS Analysis

Instrument: Bruker maXis

Please send this order form and a structure of your compound(s) as ChemDraw or image file to: analytics-che@unibas.ch

Sample concentration

Small molecules:  < 10 ug/mL (!)

Large molecules (1500 - 3000 Da): 20 -50 ug/mL

Polymers and peptides: 50-100 ug/mL

Proteins: 200 ug/mL

Recommended solvents

Small molecules: MeOH, MeCN or H2O

Proteins: H2O with 0.1 % (v/v) formic acid

Vessel

2 mL HPLC vial (screw cap with septum)

Volume of solution

Min. 1 mL

Drop-off points

Chemistry Department (OC), St. Johanns-Ring 19. Ground floor, in front of Messraum 3

Chemistry Department (BPR), Mattenstrasse 24a, BPR 1096, E00.007, metal shelf or fridge in E00.007

Make sure your solution does not contain any particles and avoid any plastic material for the sample preparation (e.g. pipettes).

| First and family name: |  | Date: |  |
| --- | --- | --- | --- |
| Group or company: |  |  |  |
| E-Mail: |  | Phone: |  |
| Sample name: |  | Exact mass1: |  |
| Molecular formula2: |  | Soluble in: |  |
| Conc. of solution (µg/mL): |  | Used solvent: |  |
| Additional comments: |  |  |  |
| 1for proteins expected mass in kDa 2except: peptides, polymers and proteins |  |  |  |